## Slide 1
feather M0 Wifi
u-controller
ATSAMD21G
Wifi
WINC1500
SPI
#2 en
#4 rst
#7 irq
#8 cs
featherwing
RTC real time clock
PCF8523
Micro SD
memory card
SPI
#10 cs
i2c : 0x68
featherwing
OLED
display + buttons
i2c : 0x3C
#9* button A
#6 button B
#5 button C
Sensirion
SCD30
CO2
Sensirion
SPS30
PM2.5
BME280
T P RH
i2c : 0x61
i2c :
0x76 or 0x77
i2c : 0x69
SPI
i2c : 0x68
Community Sensor Lab: V2.0
#10 cs
MISO, MOSI, SCK common
+ CS dedicated DIO pin
SCL, SDA common + address
connected DIO pin 10
* pin #9 is Vbat.
Disable pull-up to read analog.
Set pull-up for button.
Honeywell
HSC differential pressure sensor
SPI
#11 cs
Special for Met Museum